LabVIEW Programming Examples

Program used in this example: LabVIEW 2012

The functions implemented in this example: find the address of the instrument, connect the instrument, send the command and read the return value.

1. Run LabVIEW 2012 and create a new VI file named Demo_Labview.

2. Add controls on the front panel interface, including the address bar, command bar and return value bar, as well as connect, write, read and exit buttons.

Note: The Command text box needs to select "Backslash Symbol":

3. Click “Show Block Diagram” under the “Window” menu.

4. Right-click on the blank space of “Block Diagram” to create “Event Structure”.

5. Add events including connect instrument, write operation, read operation, read and write operation, and exit. Right-click on the blank space of "Block Diagram", add “VISA open, VISA write, VISA read, and VISA close”.

(1) Connect the instrument:

(1.1) Right-click on the blank space of the "Front Panel" and add the VISA resource name:

(1.2) Add connection event:

(2) Write Operation

(3) Read Operation

(4) Write and Read Operation

(5) Exit

6. Run the program, and the interface as shown below.

Click the "Instrument" drop-down box to select the VISA resource name, click the "Connect" button to connect the instrument, enter the command in the "Command" text box, and click the "Send Command" button to write to the instrument. If it is a query command, click the "Read Response" button or the "Send & Read" button, and the "Response" text box will display the return value.