Visual C++ programming example

Program used in this example: Microsoft Visual C++ 2015

The functions implemented in this example: find the address of the instrument, connect the instrument, send the command and read the return value.

1. Run Microsoft Visual C++ 2015 and create a new dialog-based MFC project named DemoVC.

2. Click the menu "Project -> Properties", and add the Include and Lib paths in the "Properties" tab of the pop-up interface.

Note: The two paths added here are relative to where NI-VISA or Keysight-VISA is installed on your computer.

Default installation path:

C:\Program Files(x86)\IVI Foundation\VISA.

3. In the property interface, manually add the "visa32.lib" file.

4. Add Text, Edit, and Button controls. The layout is shown in the figure below. Instrument Address, Command, and Response are Text controls. Connect, Send Command, Read Response, and Send & Read are Button controls. The three Edit controls are Edit controls. And the third Edit control is a read-only (Read-only) control.

5. Manually add three CString type variables in the header file:

Instrument address: CString m_strInstrAddr

Command: CString m_strCommand

Return value: CString m_strResult

6. In the resource view, right-click the dialog and manually add 3 control variables:

CEdit m_editInstrAddr;

CEdit m_editCommand;

CEdit m_editResponse;

7. Encapsulate VISA read and write operations.

1) Encapsulate the write operation of VISA for easy operation.

2) Encapsulate the read operation of VISA for easy operation.

8. Add control message response code.

1) Connect the instrument

2) Write operation

3) Read operation

9. Running the program will enter the following interface.

Perform the following steps:

1) Click the Connect button to find and connect the device;

2) Enter a command in the Command edit box, such as "*IDN?";

3) Click the Send Command button to send the command;

4) Click the Read Response button to read the return value.

The running result is shown in the following figure: